## Sheet1
				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT

				Phone: 1300 651 521					Page 3
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

Security System:

	Check the location of all equipment and devices against existing records. Compare system programming
	to monitoring centre zone list

	Test alarm activation, and detection range of all detection devices (refer results)

	Test tamper activation of all detection devices (refer results)

	Test detection devices not subject to interference, draughts and installed as per manufacturer’s specification

	Test no inputs isolated, LAN devices online, system is programmed to report all system and tamper alarms,
	including low battery alarm

	Check the operation of the control panel, all expander panels, all LAN isolators, all keypads and their tamper circuits

	Check all fuses intact and of correct value

	Check under normal running, conditional power supply input and output voltages are within 2% of rated value (refer results)

	Check under alarm condition with main powers disconnected, output voltages are within 15% of rated value (refer results)

	Check all cable connections are tight and cable not damaged

	Inspect all surge protection equipment is functional

	Test all third party interface outputs (lighting outputs, BMS, HVAC, EMS, HWS)

	Tested operation of visual alarms and record outcome of test of local audible alarms (refer results)

	Inspect all visible wiring conduits and flexible connections (Report on any physical damage and evidence of tampering)

	Check panel date and time is correct

	Update maintenance record and log book

	Check all signal received by monitoring centre and request activity report to be forwarded for confirmation

	Inspect/Review any “as installed documentation” held onsite

Access Control:

	Check operation of credential readers, keypads and their tamper circuits

	Check operation of locking devices and exit releases

	Check condition of power transfer device

				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT				0

				Phone: 1300 651 521					Page 4
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

CCTV Systems:

	Check the operation of the pan tilt cameras

	Check camera auto iris and lens focus

	Check operation of recording equipment eg VCR, DVR or NVR and report earliest recorded footage date

	Clean housings and lenses of all cameras

Intercom Systems:

	Check operation of all master and slave units

Duress Systems:

	Test operation of duress devices

UPS Systems:

	Check operation of UPS Systems

	Perform UPS Main fail test for 10 minutes

				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT				0

				Phone: 1300 651 521					Page 5
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

	AUDIBLE ALARM TEST (Where applicable, place a P to indicate a pass or place an O to indicate a failure
	Area 1	Area 2	Area 3	Area 4	Area 5	Area 6	Area 7	Area 8	Area 9	Area 10	Area 11	Area 12	Area 13	Area 14	Area 15	Area 16

	Area 17	Area 18	Area 19	Area 20	Area 21	Area 22	Area 23	Area 24	Area 25	Area 26	Area 27	Area 28	Area 29	Area 30	Area 31	Area 32

	Area 33	Area 34	Area 35	Area 36	Area 37	Area 38	Area 39	Area 40	Area 41	Area 42	Area 43	Area 44	Area 45	Area 46	Area 47	Area 48

	Area 49	Area 50	Area 51	Area 52	Area 53	Area 54	Area 55	Area 56	Area 57	Area 58	Area 59	Area 60	Area 61	Area 62	Area 63	Area 64

				ALARM AND TAMPER TEST
				ALARM AND TAMPER TEST
				Zone/Input		Nature		Alarm		Tamper		Walk Test
				Pir		Pass		Pass		Pass
				Reed		Fail		Fail		Fail
				Smoke		Pass		Pass		Pass
				Tamper		Fail		Fail		Fail
				Fire		Pass		Pass		Pass
				Duress		Fail		Fail		Fail
				Breakglass		Pass		Pass		Pass
				Other		Fail		Fail		Fail
				C01:Z01	Input 1
				C01:Z02	Input 2
				C01:Z03	Input 3
				C01:Z04	Input 4
				C01:Z05	Input 5
				C01:Z06	Input 6
				C01:Z07	Input 7
				C01:Z08	Input 8
				C01:Z09	Input 9
				C01:Z10	Input 10
				C01:Z11	Input 11
				C01:Z12	Input 12
				C01:Z13	Input 13
				C01:Z14	Input 14
				C01:Z15	Input 15
				C01:Z16	Input 16

				BATTERY & POWER SUPPLY VOLTAGE
				CONTROL PANEL
				BATTERY
				Voltage Start		Voltage End

				POWER SUPPLY
				Input Under Mains		Output Under Mains

				Output without Mains

				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT				0

				Phone: 1300 651 521					Page 6
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

				ALARM AND TAMPER TEST
				Zone/Input		Nature		Alarm		Tamper		Walk Test
				PIR		Pass		Pass		Pass
				Reed		Fail		Fail		Fail
				Smoke		Pass		Pass		Pass
				Tamper		Fail		Fail		Fail
				Fire		Pass		Pass		Pass
				Duress		Fail		Fail		Fail
				Breakglass		Pass		Pass		Pass
				Other		Fail		Fail		Fail
				B01:Z01	Input 17
				B01:Z02	Input 18
				B01:Z03	Input 19
				B01:Z04	Input 20
				B01:Z05	Input 21
				B01:Z06	Input 22
				B01:Z07	Input 23
				B01:Z08	Input 24
				B01:Z09	Input 25
				B01:Z10	Input 26
				B01:Z11	Input 27
				B01:Z12	Input 28
				B01:Z13	Input 29
				B01:Z14	Input 30
				B01:Z15	Input 31
				B01:Z16	Input 32
				B01:Z17	Input 33
				B01:Z18	Input 34
				B01:Z19	Input 35
				B01:Z20	Input 36
				B01:Z21	Input 37
				B01:Z22	Input 38
				B01:Z23	Input 39
				B01:Z24	Input 40
				B01:Z25	Input 41
				B01:Z26	Input 42
				B01:Z27	Input 43
				B01:Z28	Input 44
				B01:Z29	Input 45
				B01:Z30	Input 46
				B01:Z31	Input 47
				B01:Z32	Input 48

				BATTERY & POWER SUPPLY VOLTAGE
				EXPANDER				EXPANDER
				DGP				DGP

				BATTERY				BATTERY
				Voltage Start		Voltage End		Voltage Start		Voltage End

				POWER SUPPLY				POWER SUPPLY
				Input Under Mains		Output Under Mains		Input Under Mains		Output Under Mains

				Output without Mains				Output without Mains

				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT				0

				Phone: 1300 651 521					Page 7
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

				ALARM AND TAMPER TEST
				Zone/Input		Nature		Alarm		Tamper		Walk Test
				PIR		Pass		Pass		Pass
				Reed		Fail		Fail		Fail
				Smoke		Pass		Pass		Pass
				Tamper		Fail		Fail		Fail
				Fire		Pass		Pass		Pass
				Duress		Fail		Fail		Fail
				Breakglass		Pass		Pass		Pass
				Other		Fail		Fail		Fail
				B02:Z01	Input 49
				B02:Z02	Input 50
				B02:Z03	Input 51
				B02:Z04	Input 52
				B02:Z05	Input 53
				B02:Z06	Input 54
				B02:Z07	Input 55
				B02:Z08	Input 56
				B02:Z09	Input 57
				B02:Z10	Input 58
				B02:Z11	Input 59
				B02:Z12	Input 60
				B02:Z13	Input 61
				B02:Z14	Input 62
				B02:Z15	Input 63
				B02:Z16	Input 64
				B02:Z17	Input 65
				B02:Z18	Input 66
				B02:Z19	Input 67
				B02:Z20	Input 68
				B02:Z21	Input 69
				B02:Z22	Input 70
				B02:Z23	Input 71
				B02:Z24	Input 72
				B02:Z25	Input 73
				B02:Z26	Input 74
				B02:Z27	Input 75
				B02:Z28	Input 76
				B02:Z29	Input 77
				B02:Z30	Input 78
				B02:Z31	Input 79
				B02:Z32	Input 80

				BATTERY & POWER SUPPLY VOLTAGE
				EXPANDER				EXPANDER
				DGP				DGP

				BATTERY				BATTERY
				Voltage Start		Voltage End		Voltage Start		Voltage End

				POWER SUPPLY				POWER SUPPLY
				Input Under Mains		Output Under Mains		Input Under Mains		Output Under Mains

				Output without Mains				Output without Mains

				PRIDE Electronic Security Systems					SECURITY ALARM INSTALLATION
				ABN 29 086 453 269					SERVICE REPORT				0

				Phone: 1300 651 521					Page 8
				Fax: 1300 651 223
				TESTING TO AS2201 - INTRUDER ALARM SYSTEMS
				Email: admin@pridesecurity.com.au

				ALARM AND TAMPER TEST
				Zone/Input		Nature		Alarm		Tamper		Walk Test
				PIR		Pass		Pass		Pass
				Reed		Fail		Fail		Fail
				Smoke		Pass		Pass		Pass
				Tamper		Fail		Fail		Fail
				Fire		Pass		Pass		Pass
				Duress		Fail		Fail		Fail
				Breakglass		Pass		Pass		Pass
				Other		Fail		Fail		Fail
				B03:Z01	Input 81
				B03:Z02	Input 82
				B03:Z03	Input 83
				B03:Z04	Input 84
				B03:Z05	Input 85
				B03:Z06	Input 86
				B03:Z07	Input 87
				B03:Z08	Input 88
				B03:Z09	Input 89
				B03:Z10	Input 90
				B03:Z11	Input 91
				B03:Z12	Input 92
				B03:Z13	Input 93
				B03:Z14	Input 94
				B03:Z15	Input 95
				B03:Z16	Input 96
				B03:Z17	Input 97
				B03:Z18	Input 98
				B03:Z19	Input 99
				B03:Z20	Input 100
				B03:Z21	Input 101
				B03:Z22	Input 102
				B03:Z23	Input 103
				B03:Z24	Input 104
				B03:Z25	Input 105
				B03:Z26	Input 106
				B03:Z27	Input 107
				B03:Z28	Input 108
				B03:Z29	Input 109
				B03:Z30	Input 110
				B03:Z31	Input 111
				B03:Z32	Input 112

				BATTERY & POWER SUPPLY VOLTAGE
				EXPANDER				EXPANDER
				DGP				DGP

				BATTERY				BATTERY
				Voltage Start		Voltage End		Voltage Start		Voltage End

				POWER SUPPLY				POWER SUPPLY
				Input Under Mains		Output Under Mains		Input Under Mains		Output Under Mains

				Output without Mains				Output without Mains